Annual Drinking Water Quality Report for 2022

Canaseraga Water System

10 Main Street, P. O. Box 235

Canaseraga, NY  14822

Report date:  April 10, 2023

Public Water Supply ID# NY0200316

# INTRODUCTION

To comply with State and Federal regulations, the Village of Canaseraga will be annually issuing a report describing the quality of your drinking water.  The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources.

This report provides an overview of last year’s water quality.  Included are details about where your water comes from, what it contains, and how it compares to State standards.

If you have any questions about this report or concerning your drinking water, please contact the village office @545-8963.  We want you to be informed about your drinking water.  If you want to learn more, please attend any of our regularly scheduled Village Board meetings.  The meetings are held on the fourth Monday of every month beginning at 6:00 PM in the Village Hall.

# WHERE DOES OUR WATER COME FROM?

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities.  Contaminants that may be in source water include:  microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants.  In order to insure that tap water is safe to drink, the State and the EPA prescribe regulations which limit the amount of certain contaminants in water provided by public water systems.  The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Our water supply is a spring-fed gravity flow system with a well for back up.  The springs are located in the Town of Ossian, collected together, then piped to a chlorinating building on Graham Road in Ossian where the water is chlorinated automatically (with 12.5% sodium hypochlorite) and fed into the Village with an underground pipeline.  The well is at 25 Bennett Street in the Village Park where this water is also chlorinated as it is pumped from the underground aquifer.  This is now used as a back-up water supply to maintain the system quantity and pressure.  Once the water is in the system it feeds by gravity to a steel reservoir tank on the hillside above South Church Street.  Our water system serves approximately 750 people through 234 service connections. A summary of our source waters’ susceptibility to contamination is based on the source water assessment from the Allegany County Health Department. A copy of this assessment can be obtained by writing to: Mr. Bryan Payne, County Office Bldg., 7 Court Street, Belmont NY  14813.  Our source water is routinely patrolled by the Livingston County Sheriff and inspected by Duane Gates.

ARE THERE CONTAMINATES IN OUR DRINKING WATER?

As the State regulations require, we routinely test your drinking water for numerous contaminants.  These contaminants include:  total coliform, nitrate, lead and copper, haloacetic acids, radiological, principle organic contaminates, synthetic organic contaminates, inorganic contaminates, and total tri-halo methanes.  The tables presented in this letter depict which compounds were detected in your drinking water.  The State allows us to test for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Therefore, some of our data, though representative, are more than one year old.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800) 426-4791 or the Allegany County Health Department at (585) 268-9250.

WHAT DOES THIS INFORMATION MEAN?

As you can see by the table on page 2, our system had no violations underground water rules. We’re proud that your drinking water meets or exceeds all Federal and State requirements. We have learned through our monitoring and testing that some contaminants have been detected; however, these contaminants were detected below the level allowed by the State and the EPA has determined that your water IS SAFE at these levels. Iron is essential for maintaining good health. However, too much iron can cause adverse health effects. Drinking water with very large amounts of iron can cause nausea, vomiting, diarrhea, constipation and stomach pain. These effects usually diminish once the elevated iron exposure is stopped. A small number of people have a condition called hemochromatosis, in which the body absorbs and stores too much iron. People with hemochromatosis may be at greater risk for health effects resulting from too much iron in the body and should be aware of their overall iron intake. The New York State standard for iron in drinking water is 0.3 milligrams per liter, and is based on iron’s effects on the taste, odor and color of the water.

* Water containing sodium,

| Table 1 Detected Contaminants 2017-2022: |
| --- |
| Contaminant | Violation yes/no | Date of Sample | Level Detected | Units | MCL/Regulatory Limit | Sources in Drinking Water |
| Total Coliform Bacteria - Springs | No | 7/13/22 | Presence | N/A | 2 or more positive samples. | Naturally present in the environment. |
| Lead* Copper* | No No | 9/20/21 8/17/22 | 0.0011 0.09 | Mg/L Mg/L | 0.15 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; leaching from wood preservatives. |
| Haloacetic Acids (HAA5) | No | 8/23/21 | 4.5 | Ug/L | 60 ug/L | By-product of drinking water disinfection needed to kill harmful organisms. |
| Total Trihalomethanes (THM) | No | 8/23/21 | 24 | Ug/L | 80 ug/L | By product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains organic matter. |
| Iron | No | 8/18/21 | 1.7 | Mg/L | 0.3 | Naturally occurring. |
| Sodium-Spring | No | 5/11/22 | 10 | Mg/L | N/A | Naturally occurring; Road salt; Water softeners; Animal waste. |
| Sodium-Well | No | 5/11/22 | 15 | Mg/L | N/A | Naturally occurring; Road salt; Water softeners; Animal waste. |
| Combined Radium (-226 & -228) | No | 6/3/21 | 0.52 | Pci/L | 510 | Erosion of natural deposits. |
| Chloromethane | No | 12/2/20 | 0.9 | Ug/L | 525 | Used in organic chemistry; used as an extractant for greases, oils, and resins; as a solvent in the rubber industry; as a refrigerant, blowing agent and propellant in polystyrene foam production; as an anesthetic; as an intermediate in drug manufacturing; as a food additive, a fumigant and a fire extinguisher. |
| Bromomethane | No | 12/2/20 | 0.5 | Ug/L | 525 | Used to kill a variety of pests; used to make other chemicals or as a solvent to get oil out of nuts, seeds, and wool. |
| Arsenic-Well | No | 7/13/22 | 1.9 | Ug/L | 10 Ug/L | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes. |
| Barium-Springs | No | 7/14/22 | 0.0637 | Ug/L | 2.0 mg/L | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Barium-Well | No | 7/13/22 | 0.64 | Mg/L | 2.0 mg/L | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Chromium-Spring | No | 5/11/22 | 0.0011 | Mg/L | 0.1 Mg/L | Discharge from steel and pulp mills; Erosion of natural deposits. |

* Water containing more than 20 mg/l of sodium should not be used for drinking by people on severely restricted sodium diets.

+ We sequester iron with phosphate and disinfect with chlorine

“*” The level presented represents the 90th percentile of the 20 sites tested. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it.  The 90th percentile is equal to or greater than 90% of the lead and copper values detected at your water system.  In this case, twenty samples were collected at your water system and the 90th percentile value was the third highest value.  The action level for lead or copper was not exceeded at any of the sites tested.

1 part per billion equals ug/L      1 part per million equals mg/L        .05 mg/L equals 50 ug/L       U equals Undetected

DEFINITIONS

Maximum Contaminant Level (MCL):  The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLG’s as feasible.

Maximum Contaminant Level Goal (MCLG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLG’s allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG):  The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLG’s do not reflect the benefits of the use of disinfectants to control microbial contamination.

Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

Non-Detects (ND):  Laboratory analysis indicates that the constituent is not present.

Nephelometric Turbidy Unit (NTU):  A measure of the clarity of water.  Turbidity in excess of 5 NTU is just noticeable to the average person.

Milligrams per liter (mg/L):  Corresponds to one part of liquid in one million parts of liquid (parts per million – ppm).

Micrograms per liter (ug/L):  Corresponds to one part of liquid in one billion parts of liquid (parts per billion – ppb).

Nanograms per liter (ng/L):  Corresponds to one part of liquid to one trillion parts of liquid (parts per trillion – ppt).

Picograms per liter (pg/L):  Corresponds to one part per of liquid to one quadrillion parts of liquid (parts per quadrillion – ppq).

Picocuries per liter (pCi/L):  A measure of the radioactivity in water.

Millirems per year (mrem/yr):  A measure of radiation absorbed by the body.

Million Fibers per liter (mf/L):  Corresponds to standard units for asbestos in drinking water.

WHY SAVE WATER AND HOW TO AVOID WASTING IT?

Water is a valuable and necessary resource to survive. All the water on earth is all there is we cannot make more.

Although our system has an adequate amount of water to meet present and future demands, there are a number of reasons why it is important to conserve water:

- Saving water saves energy and some of the costs associated with both of these necessities of life;

- Saving water reduces the cost of energy required to pump water and the need to construct costly new wells, pumping systems and water towers; and

- Saving water lessens the strain on the water system during a dry spell or drought, helping to avoid severe water use restrictions so that essential fire-fighting needs are met.

You can play a role in conserving water by becoming conscious of the amount of water your household is using and by looking for ways to use less whenever you can.  It is not hard to conserve water.  Conservation tips include:

- Automatic dishwashers use 15 gallons for every cycle, regardless of how many dishes are loaded.  So get a run for your money and load it to capacity.

- Turn off the tap when brushing your teeth.

- Check every faucet in your home for leaks.  Just a slow drip can waste 15 to 20 gallons a day.  Fix it up and you can save almost 6,000 gallons per year.

- Check your toilets for leaks by putting a few drops of food coloring the tank, watch for a few minutes to see if the color shows up in the bowl.  It is not uncommon to lose up to 100 gallons a day from one of these otherwise invisible toilet leaks.  Fix it and you save more than 30,000 gallons a year.

Please contact the village office @ 607- 545-8963 if you hear, see, or suspect any water leak.

We will gladly come out to investigate.  Thank you.

DO I NEED TO TAKE SPECIAL PRECAUTIONS?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbial pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

Potential Health Effects of Detected Contaminants:

| Contaminant | Potential Health Effect |
| --- | --- |
| Total Coliform Bacteria | Coliforms are bacteria that are naturally present in the environment & are used as an indicator that other, potentially harmful waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treatment or distribution. |
| Lead | Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure. |
| Copper | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor. |
| Haloacetic Acids | Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |
| Total Trihalomethanes | Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |
| Iron | Iron is essential for maintaining good health. However, too much iron can cause adverse health effects. Drinking water with very large amounts of iron can cause nausea, vomiting, diarrhea, constipation and stomach pain. These effects usually diminish once the elevated iron exposure is stopped. A small number of people have a condition called hemochromatosis, in which the body absorbs and stores too much iron. People with hemochromatosis may be at greater risk for health effects resulting from too much iron in the body (sometimes called “iron overload”) and should be aware of their overall iron intake. The New York State standard for iron in drinking water is 0.3 milligrams per liter, and is based on iron’s effects on the taste, odor and color of the water. |
| Sodium | Water containing more than 20 mg/l of sodium should not be used for drinking by people on severely restricted sodium diets. Water containing more than 270 mg/l of sodium should not be used for drinking by people on moderately restricted sodium diets. |
| Combined Radium | Some people who drink water containing radium -226 or -228 in excess of the MCL over many years may have an increased risk of getting cancer. |
| Chloromethane | Some people who drink water containing chloromethane in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |
| Bromomethane | Some people who drink water containing bromomethane in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |

There was a presence of Total Coliform detected in a sample taken when the Spring Water System was off-line for maintenance and parts. Repeat sampling to confirm presence was completed afterward and resulted in satisfactory analysis.

Missed Samples in 2022 causing monitoring violations: We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards.  During 2022, we did not complete all monitoring or testing for the following contaminants, and therefore cannot be sure of the quality of your drinking water during that time.

Perfluorooctanoic Acid (PFOA), Perfluorooctanesulfonic Acid (PFOS), & 1,4-Dioxane: These should have initially been sampled quarterly in 2021. Samples were analyzed for Quarters 1 and 3 (1/1 – 3/31 and 7/1 – 9/30, respectively), but missed Quarters 2 and 4. Quarter 2 samples were collected in 2022. Quarter 4 samples must be taken in 2023.

Bromomethane and Chloromethane: Due to detection of these contaminants in 2020, these should have been tested on a quarterly basis in 2021. All were missed in 2021. 2022 sampling for these occurred in Quarters 1 and 3. Quarters 2 and 4 must be collected in 2023.

Disinfection By-Products (Haloacetic Acids and Total Trihalomethanes): Sampling should have occurred in November 2022 but was missed. Sampling must occur in November 2023.

CLOSING:  We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life, and our children’s future.